SERVICE COMMITTEE COUNCIL REORT

JULY 17, 2017

I met with Chief of Public Works Darrell Courtney and Kevin Knizner on Monday July 16, and spoke about a number of items including:

- Pump House: The EPA required that improvements be done to protect the integrity of the building and the water supply. The roof was leaking and the interior walls inside and out were deteriorating. A new slanted roof is being installed over the flat concrete and tar roof and work on the walls will be done soon and then repainted. The building was last repainted over ten years ago.

- Benson Street Project: Plans call for the grinding of the street on the 23rd and repaving the 24th. The Service Department understands that curbing and repaving will only be done from Lory Lane to Bunny Court (where the new sewer crossed over to the north side of the street). They were hoping it would be taken down to Hill Street. They were also hoping that a new water line would be installed from Lory to Hill Street while the street was open.

- Personnel: Staffing level is now down to 11. Steve Greiner is still off for a shoulder problem. He is in the third month of a 4 to 6 month recuperation period. Eric Lautenslager (back problem) has been of three weeks and has another two weeks to go. Bill Stone’s retirement is imminent. With these employees off for recuperation and the usual vacations, there are many “army of one” work crews. With the small staff numbers, there is a drop in the level of service provided. There is no brush pickup on a regular basis. There has been no Motrim service. Catch basin and storm sewer repair is behind schedule. The Vorhees Park pavilion roof in on hold. The eligibility list for new hires for the Service Department is only good until October.  There are two individuals that the Service Department would like to hire.

- Equipment Purchase: A list of equipment was prepared and presented to the Administration and Council in March. At this time, the Service Department would request that a plumber’s truck with panel boxes be purchased. Estimated cost in March was $45,000. Since this truck is used primarily for water services, perhaps this expense could come from the water department.

Dennis Albrinck, Chairman

Service Committee